BSNL E4-E5 exam

Energy Conservation and Fire Safety

MODEL question and answers

- Energy Management.

-controlling Electrical power & diesel cost-in order to maximize profits

2. Objective of Energy Management:

--To minimize energy cost/waste without affecting  production and quality.

-To minimize environmental effect

-TO   improve performance production,Operations, maintenance an	environmentalissues.

- Energy management safety, quality (ISO 9000)

3. Principles of Energy Management

--needed at the lowest possible rate

-highest energy efficiency

-Reusing andrecycling

-Use the most appropriate technology

-Reduce losses

4. Energy Management Strategies

--Identify a Strategic

-Appoint Energy Manager

-Energy Monitoring and Reporting System

-Conduct Energy Audit

-Energy Management Policy Statement

-Detailed Project Implementation Plan

-Staff Awareness and Training Program

-Annual Review

5. Energy Audit

-Idendify energy and fuel waste can occur & to improve

-reduce energy consumption per unit & ower operating costs

-planning a more effective use of energy

6. Barriers in Implementation

`	--side-lined as a technical specialty

-Line management is inadequate

-insufficient interest and driving force

-little incentive managers and staff to save energy.

-Lack of senior management commitment

-Senior management unaware of potential savings

-Higher priority given to“more important” issues.

-It is seen as an overhead cost.

-Energy is consumed by a large number of users.

-Users are unaware of energy use and costs

7. vital requirements for a successful energy management

- Total support of top management

- Strategy plan,

- An effective monitoring system

- Technical ability

8. Energy Conservation

-we need to adopt energy efficiency measures t for future generations

9. energy management can be used in BSNL to reduce its operating

expense and increasing  profitabilit

10. FIRE Safety- Active approach

-– Fire Extinguisher, Automatic/Manual Fire Alarms & Wet Riser System

11. FIRE Safety- Passive

-Provision of adequate fire protection in building  structure.

- Provision of adequate  open spaces

- Provision of adequate   readily available water supply etc

- Sufficient no. of Exits

- one lift shall be designated as “FIRE LIFT”

12. Take away any of these things and the fire will be extinguished

-OXYGEN

-HEAT

-ignition temperature

-Some FUEL or combustible material(CHEMICAL)

13. Types of Fire

- -Class A: Wood, paper, cloth etc

-Class B: Flammable liquids—gasoline, oil, grease, acetone, petrol, diesel etc

-Class C: Electrical—energized electrical equipment

-Class D: Metals—potassium, sodium, aluminum, magnesium.

14. Types of Fire Extinguishers

1.Water (APW)

2.Carbon Dioxide (CO2

3.Dry Chemical (ABC, BC, DC)

4.Foam etc….

15. Fire Extinguisher

-Admn. Building- every 300 sq mt- 1 no. 4.5 Kg CO2 type extinguisher

-Tech. Building-For every 100 sq mt  – 1 no. 4.5 Kg CO2 type extinguisher

IMPORTANT:This only sample prepared by me

…….   You can also make like this and mail me

………If you Find any mistakes,corrections,additions etc pl mail me

‘’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’’

By::....R.Swaminathan/SDE Marketing-udaan/BSNL/Thanjavur..
phone:04362-272400-Cell::9486103250          Email-----nathanbsnl@gmail.com